## Summary
Summary
Bill | Description | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
€
A | Security Systems | 0
B | Office Furniture | 0
C | Fibreglass Water Tanks and Ancillary Systems | 0
D | Equipment for the Foods Stores, Treatment Room, Vivaria etc | 0
GRAND TOTAL - CARRIED FORWARD TO FINANCIAL SECTION OF ONLINE TENDER RESPONSE

## Bill A - Security Systems
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender For The Supply Delivery (And If Applicable Installation) Of Security Systems (Cctv Intercom, Intruder Alarm System, And Fire System), Office Furniture, Fibreglass Water Tanks And Supporting Systems, And Equipment For The Foods Stores, Treatment Room And Vivaria as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.121 – Tender 009
Item No | Description | Quantity | Unit Cost Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP) | Total Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP)
|  |  | € | €
CCTV
1.1 | Seven (7) day/night dual-mode fixed IP 66 external, 5MP IP CCTV cameras with corrosion rated protection for a marine environment and UV resistant materials; | 7 |  | 0
1.2 | Four (4) day/night dual-mode rotating IP 66 external 5MP IP CCTV cameras with corrosion rated protection for a marine environment and UV resistant materials; | 4 |  | 0
1.3 | Three (3) 65 Internal, 5 MP IP CCTV cameras with corrosion rated protection corrosion rated protection for a marine environment and UV resistant materials; | 3 |  | 0
1.4 | A 16 channel network video recorder (NVR) coupled with hard-disk storage for safe-keeping of all recordings for at least two weeks at full resolution (5MP); | 1 |  | 0
1.5 | One Monitor (at least 40”) for viewing BOTH live streams and recorded footage, plus computer terminal, keyboard, mouse, signage and other peripheral equipment as well as cabling and cable management systems; | 1 |  | 0
1.6 | UPS system to support the CCTV system (as well as fire alarm system and intruder alarm system) for 30 minutes in the case of a power outage) | 1 |  | 0
1.7 | Proprietary User Interface Software, to enable access to said footage on a standard desktop computer as well as a mobile application for Android/Apple Operating Systems. | 1 |  | 0
Intercom and integrated gate opening system
2.1 | One (1) in number wall mountable intercom inclusive of 1 Call Button, microphone and speaker to enable communication with the indoor station, for the main entrance | 1 |  | 0
2.2 | One (1) in number indoor station, inclusive microphone and speaker to enable communication with the main entrance station, and possibility of opening external gate. | 1 |  | 0
2.3 | One (1) in number remote gate opening system, inclusive of electric lock, motor/s, control unit, transmitters and receivers, applicable cabling and any other accessories to enable the opening of the external gate via intercom | 1 |  | 0
Intruder Alarm System
3.1 | Design, procure, deliver, install, test, commission (including applicable software programming as per Contracting Authority’s requirements), an intruder alarm system, inclusive of: Intruder Alarm Main Panel [May be integrated with Fire Alarm], Passive infrared (PIR) sensors, Internal Sounders, Externa Sounder, Keypads, Single Auto Dialler to cover BOTH Intruder Alarm System and Fire Alarm system, Single backup battery pack to cover BOTH Intruder Alarm System and Fire Alarm system and provide increased autonomy beyond UPS. | LS |  | 0
Fire Alarm System
4.1 | Design, procure, deliver, install, test, train, commission (including applicable software programming as per Contracting Authority’s requirements), a fire alarm and detection system, inclusive of: Fire Alarm Main Panel [May be integrated with Intruder Alarm], smoke detectors in reception, classroom, visitors centre, main rehab area, food stores, treatment room, remote LED indicator/s as necessary; rise-heat detector/s in kitchenette, reptiles’ room and mammals’ room; manual call points in visitors centre, main hall; (internal) sounders/beacons, (external) siren/beacon, interface module [May be integrated with Intruder Alarm], Single Auto Dialler to cover BOTH Intruder Alarm System and Fire Alarm system, Single backup battery pack to cover BOTH Intruder Alarm System and Fire Alarm system and provide increased autonomy beyond UPS. | LS |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill B - Office Furniture
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender For The Supply Delivery (And If Applicable Installation) Of Security Systems (Cctv Intercom, Intruder Alarm System, And Fire System), Office Furniture, Fibreglass Water Tanks And Supporting Systems, And Equipment For The Foods Stores, Treatment Room And Vivaria as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.121 – Tender 009
Item No | Description | Quantity | Unit Cost Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP) | Total Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP)
|  |  | € | €
Reception Area
1.1 | One (1) front office large L-Shaped Desk for reception area inclusive of under-desk storage units with drawers | 1 |  | 0
1.2 | One (1) Office chair, swivel, black in colour, with arms | 1 |  | 0
1.3 | Two (2) Visitor chairs, black in colour, no arms. | 2 |  | 0
Education room to include:
2.1 | Seven (7) Office Desk | 7 |  | 0
2.2 | Seven (7) Office Chairs | 7 |  | 0
2.3 | One (1) Shelving | 1 |  | 0
Other Offices
3.1 | Two (2) large L-shaped Desks, inclusive of under-desk storage units with drawers | 2 |  | 0
3.2 | One (1) Filing cabinet 120m wide 180 to 200 cm high, 60 cm depth. Having doors half height. Upper doors shall be of frosted glass. Shelving shall be adjustable. Doors shall be lockable | 1 |  | 0
3.3 | One (1) Wall unit - L-shaped being circa. 270cm Wide, 180 to 200 cm high, 60 cm depth. Having at least two doors full height and four doors half height. Upper doors shall be of frosted glass. Shelving shall be adjustable. Doors shall be lockable. | 1 |  | 0
3.4 | One (1) Shelving | 1 |  | 0
3.5 | Small Kitchenette, including top and floor-level cupboards, sink with relevant connections, and impermeable kitchen top. Shall fit along a wall 3.98m wide. | 1 |  | 0
GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP)
0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill C - Water Tanks
FINANCIAL BID
Breakdown of Costs
(To be tailored to the specific tender)
Tender Title | Tender For The Supply Delivery (And If Applicable Installation) Of Security Systems (Cctv Intercom, Intruder Alarm System, And Fire System), Office Furniture, Fibreglass Water Tanks And Supporting Systems, And Equipment For The Foods Stores, Treatment Room And Vivaria as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.121 – Tender 009
Item No | Description | Quantity | Unit Cost Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP) | Total Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP)
|  |  | € | €
1 | Water tanks
Supply and lay fibreglass water tanks to the required diameter sizes, 2.4m high with the specified connections and finishes.
2.1 | 1.2m diameter | 8 |  | 0
2.2 | 2m diameter | 6 |  | 0
2.3 | 3m diameter | 2 |  | 0
3 | Steel walkway
3.1 | Design, fabricate, supply and install steel platform walkway, including all necessary members, connections, railing and steel grating decking in the areas as indicated on drawings. All members are to be hot dipped galvanized as per specifications. Structure is to be certified by a structural engineer. | 1 |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill D - Equipment Stores etc
FINANCIAL BID
Breakdown of Costs
(To be tailored to the specific tender)
Tender Title | Tender For The Supply Delivery (And If Applicable Installation) Of Security Systems (Cctv Intercom, Intruder Alarm System, And Fire System), Office Furniture, Fibreglass Water Tanks And Supporting Systems, And Equipment For The Foods Stores, Treatment Room And Vivaria as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.121 – Tender 009
Item No | Description | Quantity | Unit Cost Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP) | Total Including Taxes / Charges, Other Duties & Discounts but Exclusive of VAT (Delivered Duty Paid - DDP)
|  |  | € | €
Equipment for Foods Store
1.01 | One (1) Fridge | 1 |  | 0
1.02 | One (1) Chest freezer | 1 |  | 0
1.03 | One (1) Chest freezer (for dead animals)1 | 1 |  | 0
1.04 | One (1) Stainless steel table | 1 |  | 0
1.05 | One (1) Bin | 1 |  | 0
1.06 | One (1) Cutting Board Nylon | 1 |  | 0
1.07 | Two (2) Knives 10 inch Blade C/C (includes knife sharpener and plastic containers) | 2 |  | 0
1.08 | One (1) Sink | 1 |  | 0
1.09 | One (1) Wash hand basin | 1 |  | 0
1.1 | One (1) Thawing out board | 1 |  | 0
Equipment and Dry Food Store
2.01 | Two (2) in number Storage Shelving Racks | 2 |  | 0
Reptilian Room
2.01 | Four (4) in number, Vivaria having approximate dimensions as follows: 1.2m x 0.6m x 0.7m | 4 |  | 0
2.02 | Four (4) in number, Vivaria having approximate dimensions as follows: 0.75m x 0.5m x 0.5m | 4 |  | 0
2.03 | Four (4) in number, Vivaria having approximate dimensions as follows: 0.45m x 0.4m x 0.4m | 4 |  | 0
Mammalian Room
3.01 | Ten (10) in number, Vivaria having approximate dimensions as follows: 1.2m x 0.6m x 0.7m | 10 |  | 0
3.02 | Four (4) in number, Vivaria having approximate dimensions as follows: : 0.45m x 0.4m x 0.4m | 4 |  | 0
Treatment room
4.01 | One (1) Stainless steel table | 1 |  | 0
4.02 | One (1) Cabinet glass/unit | 1 |  | 0
4.03 | One (1) Small refrigerator | 1 |  | 0
4.04 | One (1) Stainless steel treatment/examination table | 1 |  | 0
4.05 | One (1) Endoscope 75cms | 1 |  | 0
4.06 | Two (2) sets of Surgical equipment | 2 |  | 0
4.07 | One (1) Saddle Stool | 1 |  | 0
4.08 | One (1) Inspection Light lamp Mobile | 1 |  | 0
4.09 | One (1) Inspection Light Lamp Wall-mounted | 1 |  | 0
4.1 | One (1) Stainless steel trolley | 1 |  | 0
4.11 | One (1) Freezer Carcasses | 1 |  | 0
4.12 | One (1) in number, Reptalian Vivarium having approximate dimensions as follows: 1.2m x 0.6m x 0.7m | 1 |  | 0
4.13 | One (1) in number, Mamalian Vivarium having approximate dimensions as follows: 1.2m x 0.6m x 0.7m | 1 |  | 0
Others
5.01 | One (1) Microwave | 1 |  | 0
GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP)
0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.