## Summary (2)
Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
ERDF.PA5.0121 – Tender 033
The tables that follow give the description of the rates (or unit prices) by using the relevant clauses of the Technical Specifications.
N.B. Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.
Summary
Bill | Description | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
€
1 | Fire Alarm and Detection System | 0
2 | CCTV System | 0
3 | Intercom System | 0
4 | Data Installation | 0
| GRAND TOTAL - CARRIED FORWARD TO FINANCIAL SECTION OF ONLINE TENDER RESPONSE | 0

## Bill 1 - Fire
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, Intruder Alarm System, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 018
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Provision for the preparation and implementation of a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for testing and commissioning of system
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
1 | FIRE ALARM & DETECTION SYSTEM
In general all the points except manual call points shall be wired with cables clipped directly to the wall / ceiling unless otherwise indicated. All conduit rates are none the less to be quoted for since these may be required in some instances.
Supply and install PVC conduit recessed in wall / galvanised conduit surface mounted or in screed under tiles from fire alarm control panel via galvanised trunking to the following fire alarm points.
Block 'A'
1.001 | Combined optical smoke detector, Internal sounder & Flashing beacon | 4 | No. |  |  | 0
1.002 | Combined Internal sounder & Flashing beacon | 3 | No. |  |  | 0
1.003 | Optical Smoke detectors | 14 | No. |  |  | 0
1.004 | Rate rise of heat detector | 1 | No. |  |  | 0
1.005 | Break glass manual call points | 10 | No. |  |  | 0
1.006 | External fire sounder | 3 | No. |  |  | 0
1.007 | Beam Transmitter | 3 | No. |  |  | 0
1.008 | Beam Receiver | 3 | No. |  |  | 0
1.009 | Fire alarm panel | 1 | No. |  |  | 0
1.01 | Auto dialer | 1 | No. |  |  | 0
1.011 | Interface Unit for VCP-01 | 1 | No. |  |  | 0
Wiring of the following fire alarm points from fire alarm system, using fire proof cable clipped directly to the wall / ceiling as per specification
Block 'A'
1.012 | Combined optical smoke detector, Internal sounder & Flashing beacon | 4 | No. |  |  | 0
1.013 | Combined Internal sounder & Flashing beacon | 3 | No. |  |  | 0
1.014 | Optical Smoke detectors | 14 | No. |  |  | 0
1.015 | Rate rise of heat detector | 1 | No. |  |  | 0
1.016 | Break glass manual call points | 10 | No. |  |  | 0
1.017 | External fire sounder | 3 | No. |  |  | 0
1.018 | Beam Transmitter | 3 | No. |  |  | 0
1.019 | Beam Receiver | 3 | No. |  |  | 0
1.02 | Fire alarm panel | 1 | No. |  |  | 0
1.021 | Auto dialer | 1 | No. |  |  | 0
1.022 | Interface Unit for VCP-01 | 1 | No. |  |  | 0
Supply, install and connect the following equipment:
Block 'A'
1.023 | Combined optical smoke detector, Internal sounder & Flashing beacon | 4 | No. |  |  | 0
1.024 | Combined Internal sounder & Flashing beacon | 3 | No. |  |  | 0
1.025 | Optical Smoke detectors | 14 | No. |  |  | 0
1.026 | Rate rise of heat detector | 1 | No. |  |  | 0
1.027 | Break glass manual call points | 10 | No. |  |  | 0
1.028 | External fire sounder | 3 | No. |  |  | 0
1.029 | Beam Transmitter | 3 | No. |  |  | 0
1.03 | Beam Receiver | 3 | No. |  |  | 0
1.031 | Fire alarm panel | 1 | No. |  |  | 0
1.032 | Auto dialer | 1 | No. |  |  | 0
1.033 | Interface Unit for VCP-01 | 1 | No. |  |  | 0
1.034 | Programming of detectors etc… for a complete working system | 1 | L.S. |  |  | 0
1.035 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 2 - CCTV
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, Intruder Alarm System, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 018
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Provision for the preparation and implementation of a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for testing and commissioning of system
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
2 | CCTV INSTALLATION
Supply, install and connect the following equipment:
Block 'A'
2.001 | Internal Dome Type CCTV Camera points (POE) c/w fixing brackets | 1 | No. |  |  | 0
2.002 | External Bullet Type CCTV Camera points (POE) c/w fixing brackets | 13 | No. |  |  | 0
Supply and install the following:
2.003 | 16-channel NVR as specified c/w software with 1T storage capacity | 1 | No. |  |  | 0
2.004 | 24" LCD monitors | 2 | No. |  |  | 0
2.005 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 3 - INtercom
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, Intruder Alarm System, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 018
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Provision for the preparation and implementation of a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for testing and commissioning of system
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
3 | INTERCOM SYSTEM
Supply and install PVC conduit recessed in wall or in screed under tiles to each of the Intercom Points via galvanised trunking
3.001 | External Intercom Points | 1 | No. |  |  | 0
3.002 | External Intercom Points (Gate) | 1 | No. |  |  | 0
3.003 | Internal Intercom Points | 4 | No. |  |  | 0
Wiring using appropriate cable enclosed in galvanised trunking and PVC conduit chased in wall/ surface mounted including the supply of all cables and wiring accessories
3.004 | External Intercom Points | 1 | No. |  |  | 0
3.005 | External Intercom Points (Gate) | 1 | No. |  |  | 0
3.006 | Internal Intercom Points | 4 | No. |  |  | 0
Supply, install and connect the following equipment:
3.007 | External Intercom panel on Gate Entry | 1 | No. |  |  | 0
3.008 | External Intercom unit | 1 | No. |  |  | 0
3.009 | Internal Video Intercom Panel | 4 | No. |  |  | 0
3.01 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 4 - Intruder
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, Intruder Alarm System, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 018
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Provision for the preparation and implementation of a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for testing and commissioning of system
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
4 | INTRUDER ALARM SYSTEM
Supply and install PVC conduit recessed in wall or in screed under tiles from Security panel via galvanised trunking to the following security points.
Block 'A'
4.001 | Passive infrared motion sensor | 19 | No. |  |  | 0
4.002 | Internal security sounder | 2 | No. |  |  | 0
4.003 | External security sounder | 3 | No. |  |  | 0
4.004 | Remote keypads | 2 | No. |  |  | 0
Wiring from Security panel to various terminations as indicated on drawings
Block 'A'
4.005 | Passive infrared motion sensor | 19 | No. |  |  | 0
4.006 | Internal security sounder | 2 | No. |  |  | 0
4.007 | External security sounder | 3 | No. |  |  | 0
4.008 | Remote keypads | 2 | No. |  |  | 0
Supply, install and connect the following security equipment:
Block 'A'
4.009 | Passive infrared motion sensor | 19 | No. |  |  | 0
4.01 | Internal security sounder | 2 | No. |  |  | 0
4.011 | External security sounder | 3 | No. |  |  | 0
4.012 | Remote keypads | 2 | No. |  |  | 0
4.013 | Auto dialer | 1 | No. |  |  | 0
4.014 | Security panel | 1 | No. |  |  | 0
4.015 | Supply one full set of as fitted drawings (including 1 hard copy and a digital copy on 2 separate USBs) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.

## Bill 5 - Data
FINANCIAL BID
Breakdown of Costs
Tender Title | Tender for the supply, delivery and installation of Security Systems (CCTV, Intercom, and Fire System), as part of ERDF Project ERDF.05.121 – Wildlife Rehabilitation Centre
Reference Number | ERDF.05.0121 – Tender 033
Item | Description | Quantity | Unit | Technical Specifications | Unit Rate Including Taxes, other Duties, and Discounts but Exclusive of VAT | Line Item total Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
[5 empty] | € | €
Preliminaries
All equipment to be used within this contract is to be approved prior to delivery to site.
Provision for the preparation and implementation of a risk assessment report outlining all risks involved and measures to be taken to minimise or eliminate potential risks. The report is to be prepared and signed by a competent person. Implementation of health and safety measures on site including personal safety (e.g safety shoes, helmets scaffolding, harnesses etc) as well as those to render the site safe for employees.
Allow for carrying out all surveys, setting out of works unless included elsewhere in the Bills of Quantities.
Provision for the supply and delivery to site of samples as may be requested by the Consultant Engineer
Allow for continuously keeping the site and building clean and in a workman type condition free from debris, surplus materials and any other type of loose matter arising from works, which will disturb the proper conditions of any internal and external areas, roads and/or adjoining structures. Site Cleaning is to take place during the whole duration of works
Provision for testing and commissioning of system
Provision for hauling of equipment on site, including cranage, permits and all necessary fees.
5 | DATA INSTALLATION
FROM BLOCK 'A' DATA CABINET TO:
Supply and install data points via galvanised trunking and PVC conduit chased in walls / galvanised conduit surface mounted from patch panel to various data points as per drawing. There shall be 1qty 25 mm conduits for a maximum of three cables. All data cable conduit shall be 25mm dia.
5.001 | Data Points | 9 | No. |  |  | 0
| Wiring from patch panel to the following points using CAT 6 cable including the provision of all cables etc for a complete system. All cables to be marked at both ends using appropriate number bands |  |  |  |  | 0
5.002 | Data Points x 1 cable | 4 | No. |  |  | 0
5.003 | Data Points x 2 cable | 5 | No. |  |  | 0
5.004 | Single Wall plates | 4 | No. |  |  | 0
5.005 | Double Wall plates | 5 | No. |  |  | 0
5.006 | Termination of cables at both ends including the provision of RJ45 sockets | 14 | No. |  |  | 0
5.007 | Testing of cables and issuing of the relevant certifications per data point | 14 | No. |  |  | 0
5.008 | Supply and install earthing for all external data points c/w surge arresters, accessories as per specifications | 1 | L.S. |  |  | 0
5.009 | Supply one full set of as fitted drawings (including 1 hard copy and 2 digital copies) | 1 | Set |  |  | 0
| GRAND TOTAL INCLUDING TAXES / CHARGES, OTHER DUTIES & DISCOUNTS BUT EXCLUSIVE OF VAT (DELIVERED DUTY PAID - DDP) |  |  |  |  | 0
N.B | Three decimal points do not exist as currency; therefore such offers cannot be accepted. Offers are to be submitted up to two decimal points.